## 10MHz
TinySA Ultra Phase Noise Measurements @ 10 MHz

These plots show the TinySA Ultra measuring various 10 MHz sources.
The Orange Plot labeled “TinySA:” is the TinySA measuring the Test Source. The Estimated Phase Noise of the Test Source is the Yellow Trace.
The Blue Plot is the TinySA measuring an HP10811 Ovenized Oscillator. This Oscillator has an extremely low Phase Noise Floor.
Much lower than the Test Source and hence the TinySA plot is not as influenced by the source that it was measuring and is about 2 dB lower.
The Blue trace is really the phase noise of the TinySA Ultra at 10 MHz.

Frequency	Ref Osc	TinySA	Test Source
1000	-85.82086	-83.678	-99
1004	-84.79181	-82.72212
1009	-83.73396	-84.03929
1013	-85.48254	-83.23149
1018	-84.93463	-81.32622
1022	-84.97845	-81.73464
1027	-84.44149	-81.89242
1031	-82.14125	-82.95526
1036	-85.63066	-82.3275
1040	-84.3198	-81.26691
1045	-84.13964	-82.71201
1049	-84.15574	-83.04287
1053	-83.33184	-82.84326
1058	-83.68878	-82.35038
1062	-85.37156	-81.57315
1067	-83.99524	-82.54039
1071	-85.36442	-79.47986
1076	-84.30974	-81.6149
1080	-84.89039	-80.53327
1085	-82.87719	-82.38047
1089	-83.87547	-82.76916
1094	-85.22505	-82.15419
1098	-85.02045	-81.7224
1102	-85.96157	-82.94675
1107	-86.74257	-82.51694
1111	-84.851	-80.80528
1116	-86.2161	-82.34469
1120	-86.48997	-82.48196
1125	-85.38218	-82.02115
1129	-86.53589	-83.86776
1134	-85.01244	-82.53994
1138	-86.17961	-81.28992
1143	-86.09775	-82.9694
1147	-87.98749	-82.23868
1151	-85.74425	-83.30178
1156	-88.14129	-84.10339
1160	-87.03392	-84.81719
1165	-88.71636	-81.61242
1169	-86.86405	-82.30875
1174	-87.70568	-84.26954
1178	-85.30109	-84.93522
1183	-85.10855	-82.55599
1187	-87.7164	-81.91632
1192	-85.9707	-82.4354
1196	-84.91179	-81.33863
1200	-84.33491	-82.15159
1205	-85.36718	-83.78353
1209	-85.31588	-81.54617
1214	-88.31837	-83.51114
1218	-87.0172	-83.56986
1223	-87.90095	-80.62644
1227	-86.41827	-81.96743
1232	-87.68722	-83.18725
1236	-85.74288	-84.81696
1241	-87.49889	-84.69735
1245	-85.07391	-82.44953
1249	-85.5709	-82.17368
1254	-85.5709	-83.01928
1258	-85.5709	-85.17419
1263	-85.5709	-82.19265
1267	-85.5709	-83.28134
1272	-86.01284	-83.78556
1276	-84.15568	-85.11322
1281	-85.53105	-82.09989
1285	-85.86675	-82.09989
1290	-85.57594	-82.09989
1294	-83.52894	-82.09989
1298	-84.77197	-82.09989
1303	-85.61093	-81.07593
1307	-83.83337	-83.46716
1312	-85.36875	-80.97913
1316	-85.67753	-81.8811
1321	-85.39457	-81.78662
1325	-86.53097	-80.97315
1330	-84.903	-81.56135
1334	-85.47326	-81.20104
1339	-83.87838	-82.72324
1343	-85.51089	-81.18996
1347	-84.93684	-81.24375
1352	-85.94696	-83.0414
1356	-83.76759	-82.38637
1361	-85.11639	-82.62272
1365	-87.69812	-81.80921
1370	-86.21912	-83.04957
1374	-83.2897	-81.56711
1379	-86.41193	-83.34795
1383	-87.42199	-83.79937
1388	-86.44593	-83.99687
1392	-85.24154	-85.00287
1396	-88.04804	-81.15524
1401	-87.68575	-84.62254
1405	-85.03025	-82.62167
1410	-83.67684	-81.81952
1414	-85.03305	-82.76725
1419	-85.49172	-82.68782
1423	-84.36925	-84.82624
1428	-86.52714	-82.88384
1432	-85.45487	-82.78069
1437	-85.03942	-83.89419
1441	-86.79752	-82.55732
1445	-87.30163	-83.91132
1450	-84.09069	-82.37507
1454	-83.57814	-82.49703
1459	-83.9955	-82.80832
1463	-85.33704	-81.98825
1468	-85.53704	-83.87493
1472	-84.56879	-85.80579
1477	-83.63908	-82.2521
1481	-84.80838	-83.4716
1486	-85.81224	-85.77128
1490	-84.35218	-82.99292
1494	-85.51951	-83.38953
1499	-84.06391	-82.9854
1503	-85.16084	-81.98344
1508	-84.01289	-84.46305
1512	-86.9368	-82.95794
1517	-87.37926	-81.14507
1521	-85.57654	-81.81166
1526	-86.91015	-81.92884
1530	-83.21084	-80.3388
1535	-86.26896	-83.67063
1539	-85.4445	-82.94778
1543	-84.37697	-82.9799
1548	-84.10968	-83.00622
1552	-85.02597	-85.47493
1557	-84.00629	-85.74462
1561	-83.4443	-82.85189
1566	-82.80932	-83.78759
1570	-84.89422	-83.62807
1575	-86.05307	-84.07485
1579	-85.48846	-82.78609
1584	-84.88419	-82.76101
1588	-85.91695	-82.71564
1592	-83.21366	-82.65412
1597	-85.20995	-82.66147
1601	-85.03446	-83.96904
1606	-84.05005	-83.576
1610	-84.73871	-82.91719
1615	-86.31905	-81.79165
1619	-86.15599	-82.47761
1624	-83.35965	-83.69809
1628	-84.65745	-82.39207
1633	-84.94456	-84.6356
1637	-85.2149	-81.95024
1641	-86.25872	-81.88599
1646	-85.34329	-82.75412
1650	-83.60116	-82.98995
1655	-85.55684	-84.0391
1659	-85.98929	-81.3534
1664	-84.58852	-84.2043
1668	-85.00324	-83.13235
1673	-85.41827	-80.88078
1677	-85.63702	-80.92207
1682	-84.86562	-82.1788
1686	-85.2483	-83.82532
1690	-83.95664	-81.34559
1695	-84.9984	-83.4109
1699	-85.8756	-84.51004
1704	-85.49852	-82.61372
1708	-84.73665	-81.84512
1713	-83.82664	-82.55899
1717	-86.31586	-84.83599
1722	-86.03243	-82.21321
1726	-87.38875	-83.39134
1731	-84.54015	-83.53235
1735	-85.81364	-82.62256
1739	-83.92006	-81.38127
1744	-86.13047	-84.56549
1748	-84.10392	-82.3459
1753	-84.79967	-82.29994
1757	-85.61509	-83.4422
1762	-85.79752	-82.2969
1766	-84.4648	-82.20305
1771	-87.5451	-84.89675
1775	-86.54139	-84.38566
1780	-86.1642	-83.55393
1784	-85.1459	-81.16797
1788	-86.5174	-81.11038
1793	-83.29026	-84.1832
1797	-84.96765	-82.96894
1802	-87.65544	-83.09164
1806	-85.47822	-83.09381
1811	-85.333	-80.5833
1815	-86.50641	-81.1923
1820	-84.81757	-83.86168
1824	-85.9	-82.22099
1829	-85.85351	-82.24772
1833	-83.55369	-82.59557
1837	-83.65195	-81.9571
1842	-86.1641	-83.0936
1846	-83.12615	-81.09015
1851	-82.57843	-82.18461
1855	-84.36225	-80.54125
1860	-85.12765	-81.60127
1864	-84.94347	-80.91299
1869	-87.08469	-81.7397
1873	-85.58993	-84.56132
1878	-84.93416	-83.34652
1882	-86.12992	-83.73059
1886	-84.78758	-81.61137
1891	-84.62895	-82.34467
1895	-84.71124	-84.00531
1900	-84.62351	-79.76807
1904	-84.54211	-82.27824
1909	-84.00755	-84.73056
1913	-82.80534	-82.64629
1918	-83.94547	-83.15647
1922	-84.13015	-82.90811
1927	-84.14646	-80.89626
1931	-84.5657	-82.18016
1935	-85.79952	-82.4139
1940	-86.21059	-84.74169
1944	-85.85259	-80.68924
1949	-87.11767	-82.61831
1953	-84.0657	-83.83847
1958	-84.05124	-81.57429
1962	-84.01257	-80.82542
1967	-85.52415	-85.41538
1971	-86.97526	-83.21592
1976	-86.46994	-82.62496
1980	-86.65688	-83.39946
1984	-83.42574	-84.5965
1989	-86.92997	-83.90725
1993	-85.34027	-85.29526
1998	-86.57665	-85.44159
2002	-84.92611	-82.86932
2007	-86.41269	-84.21542
2011	-86.06873	-83.50406
2016	-88.2433	-85.96113
2020	-85.87965	-81.6879
2024	-86.68874	-84.01919
2029	-85.2303	-83.74381
2033	-86.02165	-85.5803
2038	-86.7923	-84.74274
2042	-86.85372	-79.32089
2047	-86.10649	-81.9071
2051	-86.95972	-82.80484
2056	-86.75447	-85.29021
2060	-86.6881	-84.75019
2065	-86.19031	-81.62582
2069	-85.50884	-83.10967
2073	-83.59545	-84.56686
2078	-87.46434	-83.16171
2082	-87.12872	-84.31864
2087	-83.4316	-82.54037
2091	-85.68485	-81.91694
2096	-86.03588	-82.4658
2100	-88.0286	-84.38282
2105	-85.14042	-85.80922
2109	-87.04	-83.71347
2114	-86.3701	-84.17637
2118	-84.07864	-81.88814
2122	-87.50325	-83.89317
2127	-85.93042	-86.1746
2131	-86.4879	-84.1062
2136	-85.17474	-84.1732
2140	-87.19681	-84.30778
2145	-85.81447	-82.23901
2149	-85.54949	-83.30159
2154	-85.49379	-85.49597
2158	-87.77295	-84.99732
2163	-85.87166	-86.83725
2167	-86.98126	-85.09567
2171	-86.829	-84.70957
2176	-87.42961	-85.41697
2180	-85.14588	-84.881
2185	-86.98478	-85.02912
2189	-87.02378	-85.08328
2194	-87.30662	-84.33487
2198	-87.53309	-83.5648
2203	-87.62651	-84.5044
2207	-88.81895	-85.384
2212	-87.58756	-83.95319
2216	-85.41917	-82.71641
2220	-86.50897	-85.23587
2225	-87.10246	-86.5128
2229	-87.8098	-85.80296
2234	-86.58121	-85.55497
2238	-86.7117	-86.07886
2243	-88.39243	-82.69687
2247	-85.73559	-85.60905
2252	-85.67132	-84.34147
2256	-88.94934	-83.82554
2261	-87.32239	-84.76184
2265	-85.62877	-85.30194
2269	-88.85872	-82.07901
2274	-88.77996	-84.67526
2278	-86.91905	-84.49316
2283	-86.6394	-84.0099
2287	-87.97501	-84.6073
2292	-87.27099	-84.05259
2296	-86.27156	-83.70065
2301	-89.39569	-85.7975
2305	-88.19162	-85.57161
2310	-88.07449	-85.22476
2314	-89.32514	-84.1619
2318	-87.3195	-85.98996
2323	-88.90412	-83.93144
2327	-89.07197	-82.5083
2332	-87.64944	-85.67984
2336	-87.38134	-84.28212
2341	-87.29429	-85.15412
2345	-89.36586	-84.18106
2350	-86.18245	-84.13613
2354	-87.8371	-87.0142
2359	-87.16574	-86.46719
2363	-87.97357	-84.53889
2367	-89.23442	-86.76657
2372	-87.79155	-87.68925
2376	-87.51349	-84.04025
2381	-87.94957	-85.02372
2385	-88.58569	-85.59341
2390	-86.07874	-84.05944
2394	-90.48561	-85.91884
2399	-89.0594	-87.45022
2403	-88.50411	-84.18505
2408	-88.47446	-85.8385
2412	-87.989	-87.53774
2416	-89.75359	-85.93022
2421	-87.8889	-85.10696
2425	-89.0947	-85.2629
2430	-86.63193	-88.42072
2434	-88.65984	-87.23012
2439	-87.05681	-85.11009
2443	-85.77085	-84.83438
2448	-89.61315	-85.38249
2452	-88.84584	-86.21934
2457	-85.73543	-89.63509
2461	-88.73305	-88.1622
2465	-89.66386	-86.88347
2470	-88.56325	-84.74913
2474	-90.99355	-86.81849
2479	-86.81049	-84.60857
2483	-89.53831	-85.67084
2488	-90.92946	-88.04337
2492	-89.25416	-87.12259
2497	-90.43072	-86.38282
2501	-89.02586	-86.51734
2506	-90.46039	-87.15407
2510	-89.10496	-85.20026
2514	-89.79889	-87.60141
2519	-88.50968	-86.52682
2523	-88.28764	-85.94555
2528	-86.67537	-85.56428
2532	-88.96178	-87.01744
2537	-88.14187	-85.54477
2541	-87.09357	-85.20503
2546	-89.28642	-86.09332
2550	-87.34455	-85.69705
2555	-86.86249	-84.77849
2559	-87.66931	-88.94589
2563	-91.14569	-84.85775
2568	-88.56494	-84.9237
2572	-88.16266	-87.71882
2577	-87.87999	-86.00149
2581	-88.85141	-87.40866
2586	-89.92525	-84.11432
2590	-86.07322	-83.875
2595	-88.90749	-85.24457
2599	-90.21937	-85.18405
2604	-87.89713	-87.25212
2608	-90.41249	-84.89512
2612	-91.37135	-86.85971
2617	-87.58302	-85.79945
2621	-88.25251	-85.41452
2626	-91.55754	-86.48096
2630	-89.66082	-88.30722
2635	-90.46657	-87.00147
2639	-91.36962	-87.09765
2644	-88.93124	-88.24355
2648	-88.15129	-85.50055
2653	-89.48361	-86.91712
2657	-91.21285	-87.10735
2661	-91.59457	-86.32766
2666	-91.32749	-89.1498
2670	-90.34647	-88.98344
2675	-91.30999	-90.0637
2679	-91.65765	-88.02374
2684	-89.07774	-89.38499
2688	-91.97557	-88.57214
2693	-90.82206	-88.76835
2697	-92.44718	-89.0095
2702	-90.95195	-88.33939
2706	-89.38401	-88.38422
2710	-92.13878	-88.31392
2715	-91.94376	-89.22938
2719	-90.26139	-89.47706
2724	-89.72435	-89.56829
2728	-91.81629	-88.53769
2733	-90.64999	-88.15484
2737	-91.07326	-89.33041
2742	-90.33421	-89.96174
2746	-90.70187	-87.09292
2751	-89.42857	-88.63625
2755	-89.1517	-89.76025
2759	-90.8908	-89.48153
2764	-90.46692	-87.17218
2768	-90.55359	-88.33715
2773	-88.18434	-89.01754
2777	-89.84495	-87.85641
2782	-91.21932	-88.76978
2786	-87.5695	-88.32679
2791	-89.45322	-88.85132
2795	-90.15059	-88.54532
2800	-89.50328	-87.00141
2804	-89.14894	-89.47192
2808	-89.63734	-89.09214
2813	-88.13128	-89.0759
2817	-90.35705	-86.89086
2822	-89.45803	-88.29525
2826	-88.82731	-89.53187
2831	-88.84465	-88.87862
2835	-88.96962	-86.08253
2840	-88.61741	-87.84875
2844	-90.08337	-86.75718
2849	-89.04322	-89.70961
2853	-89.7355	-87.49332
2857	-91.54012	-87.2687
2862	-88.63463	-86.18728
2866	-89.0911	-87.70725
2871	-89.34962	-86.30112
2875	-90.29079	-89.51624
2880	-90.14439	-89.41465
2884	-88.45524	-87.30415
2889	-90.76125	-86.98861
2893	-88.61959	-89.01006
2898	-90.00109	-87.30966
2902	-89.26476	-88.73039
2906	-89.21103	-87.45884
2911	-89.78538	-86.41857
2915	-88.63488	-88.5185
2920	-88.21232	-87.84265
2924	-87.39187	-88.65381
2929	-90.00814	-86.17878
2933	-89.73194	-87.29441
2938	-90.57725	-86.67566
2942	-90.95835	-86.96582
2947	-89.17403	-87.37999
2951	-90.44843	-88.63565
2955	-89.55524	-87.13524
2960	-91.03519	-90.25116
2964	-87.5933	-88.88214
2969	-89.62369	-90.31566
2973	-89.70946	-87.88305
2978	-90.33964	-87.60776
2982	-91.90501	-88.10099
2987	-88.87465	-88.06399
2991	-90.6262	-85.81868
2996	-89.12886	-89.46104
3000	-88.37949	-87.9778
3000	-87.44424	-85.20334	-99
3016	-88.71495	-86.264
3031	-90.50327	-87.00792
3047	-88.87782	-86.78362
3062	-90.08762	-85.20049
3078	-89.33954	-84.43809
3094	-90.32653	-84.40225
3109	-87.26819	-85.54657
3125	-89.27132	-84.4578
3140	-88.16249	-84.7103
3156	-89.04332	-84.23984
3171	-88.20175	-84.23984
3187	-89.21862	-84.51063
3203	-88.1558	-85.18016
3218	-87.90215	-85.33753
3234	-88.83612	-84.11909
3249	-87.85062	-84.60587
3265	-89.53044	-84.66428
3281	-87.87332	-82.77305
3296	-87.16581	-83.90428
3312	-86.95086	-83.97272
3327	-89.69325	-85.22153
3343	-89.66741	-83.22686
3359	-89.53749	-83.2434
3374	-88.88557	-84.91806
3390	-90.11614	-84.23687
3405	-86.88365	-84.32706
3421	-88.70488	-85.14939
3437	-88.65949	-82.17605
3452	-88.54851	-82.67959
3468	-88.16344	-82.80524
3483	-88.37602	-82.7878
3499	-87.01322	-81.46344
3514	-87.7513	-83.39042
3530	-88.18288	-82.60189
3546	-87.62782	-84.50355
3561	-88.43235	-82.94925
3577	-89.29874	-83.85362
3592	-89.26514	-82.92631
3608	-87.87926	-83.21362
3624	-89.93484	-83.20105
3639	-87.52065	-84.91744
3655	-87.92255	-84.3514
3670	-88.46293	-83.36545
3686	-87.80512	-83.74831
3702	-87.5003	-83.63044
3717	-88.62477	-83.75357
3733	-88.39811	-83.11132
3748	-88.1809	-84.79532
3764	-89.42909	-84.94766
3780	-87.31837	-83.27546
3795	-90.14111	-84.19442
3811	-87.50572	-84.26514
3826	-87.73144	-83.56732
3842	-87.12615	-85.37626
3857	-88.08465	-84.49662
3873	-89.49837	-82.28857
3889	-89.32374	-84.61145
3904	-87.52484	-84.3838
3920	-88.39241	-85.22463
3935	-88.12444	-85.08276
3951	-87.48516	-84.64303
3967	-90.24506	-85.6354
3982	-87.90265	-84.20057
3998	-87.62365	-85.12639
4013	-90.25901	-86.49477
4029	-90.0854	-86.7705
4045	-91.09145	-86.5773
4060	-89.83818	-86.69221
4076	-88.43517	-87.42875
4091	-90.52007	-87.07563
4107	-92.14614	-86.8218
4122	-90.35775	-86.05002
4138	-91.41044	-85.73747
4154	-89.86884	-86.2963
4169	-89.49047	-86.85726
4185	-88.50141	-87.64887
4200	-90.83522	-86.87437
4216	-90.14788	-87.05619
4232	-91.18697	-86.90778
4247	-89.54712	-86.60997
4263	-89.89182	-86.75395
4278	-90.87909	-84.76347
4294	-90.22155	-87.38074
4310	-90.24538	-86.61886
4325	-92.44312	-85.69164
4341	-91.57163	-88.59278
4356	-90.87147	-88.02509
4372	-90.96137	-87.64571
4388	-93.4788	-88.76182
4403	-92.46634	-88.15489
4419	-92.79153	-89.87317
4434	-95.26271	-89.76922
4450	-93.62938	-90.66828
4465	-92.40012	-91.85475
4481	-92.99052	-90.30037
4497	-93.238	-89.94765
4512	-93.15727	-88.79688
4528	-91.2114	-90.52436
4543	-91.4919	-89.36847
4559	-93.30755	-89.74755
4575	-92.02504	-90.77236
4590	-91.25895	-90.61484
4606	-93.46805	-91.24667
4621	-91.27464	-87.56001
4637	-93.96074	-88.59452
4653	-91.61034	-89.50419
4668	-94.39818	-91.48667
4684	-93.07299	-92.12553
4699	-92.84264	-91.43132
4715	-94.07905	-89.95579
4731	-93.73582	-87.89526
4746	-94.09162	-87.94949
4762	-92.29505	-88.9455
4777	-93.24552	-88.82905
4793	-93.41019	-89.22068
4808	-92.65615	-88.54527
4824	-92.79689	-89.15932
4840	-92.63292	-88.5358
4855	-89.61305	-89.38397
4871	-89.80028	-88.43067
4886	-91.75132	-87.14401
4902	-92.40696	-86.75134
4918	-90.82837	-87.83756
4933	-90.35091	-87.20427
4949	-90.3771	-87.19562
4964	-91.67532	-88.55518
4980	-91.7813	-88.72489
4996	-92.81163	-87.44205
5011	-89.62305	-88.69472
5027	-91.37797	-86.75857
5042	-92.32711	-88.65088
5058	-92.09468	-87.1213
5073	-92.13417	-87.57839
5089	-91.34672	-87.0175
5105	-90.211	-86.80855
5120	-89.82152	-87.82011
5136	-91.70412	-86.39822
5151	-89.10137	-86.66172
5167	-90.45662	-85.07495
5183	-90.90195	-86.14657
5198	-89.2629	-86.81653
5214	-90.76361	-86.91024
5229	-89.81556	-86.84944
5245	-91.5813	-85.35825
5261	-89.73769	-86.20224
5276	-90.99694	-87.0796
5292	-90.80657	-85.96057
5307	-90.41886	-87.02637
5323	-91.30205	-85.33664
5339	-92.87431	-86.8162
5354	-90.65159	-86.93562
5370	-92.08997	-87.48031
5385	-91.64865	-86.93388
5401	-93.57145	-86.35157
5416	-92.68725	-86.3353
5432	-91.98011	-86.94736
5448	-91.183	-87.30186
5463	-90.87045	-87.15537
5479	-90.90069	-85.67811
5494	-91.52675	-84.80929
5510	-89.90719	-86.29257
5526	-91.70247	-86.65562
5541	-89.72793	-86.5586
5557	-90.6714	-86.89067
5572	-90.08109	-85.49091
5588	-89.25768	-86.33521
5604	-91.12712	-86.98642
5619	-89.98544	-87.06238
5635	-91.12169	-87.04355
5650	-92.50095	-86.90741
5666	-91.70355	-86.97905
5682	-90.76214	-86.38288
5697	-91.44124	-87.31967
5713	-92.56055	-87.9301
5728	-92.4268	-88.6966
5744	-92.56109	-88.33149
5759	-89.551	-88.27178
5775	-91.05262	-87.53457
5791	-92.02196	-89.02663
5806	-92.48972	-87.93754
5822	-90.92522	-88.74778
5837	-90.41502	-86.55472
5853	-92.40595	-88.21562
5869	-91.04682	-87.88647
5884	-89.49843	-88.26593
5900	-91.24243	-86.95962
5915	-92.13975	-88.19907
5931	-92.54528	-87.33042
5947	-92.77454	-88.8553
5962	-92.20856	-88.54594
5978	-92.2869	-87.65507
5993	-92.50486	-88.53843
6009	-93.98411	-88.51518
6024	-91.9155	-89.13935
6040	-92.8949	-89.0798
6056	-93.88136	-89.43851
6071	-93.57985	-90.27104
6087	-93.9989	-89.70582
6102	-93.32574	-91.15665
6118	-93.29677	-90.792
6134	-94.84661	-88.26499
6149	-92.87124	-91.05405
6165	-93.90855	-91.33662
6180	-92.27812	-90.85686
6196	-94.36722	-91.65049
6212	-94.53462	-88.63157
6227	-93.91214	-90.69984
6243	-92.89715	-90.6926
6258	-93.10487	-91.15272
6274	-93.81412	-90.77506
6290	-95.19899	-90.59751
6305	-93.48496	-90.8167
6321	-94.75101	-88.82005
6336	-91.59696	-91.86212
6352	-95.88012	-92.13992
6367	-95.44712	-92.49561
6383	-96.64209	-92.10936
6399	-97.17827	-93.5196
6414	-96.78992	-92.5149
6430	-94.30938	-90.60459
6445	-96.73753	-92.5283
6461	-97.45624	-91.83022
6477	-94.40263	-92.13291
6492	-95.39537	-91.30969
6508	-92.9784	-90.2598
6523	-94.79081	-90.4948
6539	-93.47436	-91.3086
6555	-94.50661	-89.69125
6570	-93.33128	-89.86256
6586	-92.34569	-91.00668
6601	-95.04061	-90.54334
6617	-93.10257	-90.19431
6633	-94.39734	-91.4595
6648	-94.0389	-90.67875
6664	-95.89699	-90.13407
6679	-95.67149	-92.17222
6695	-96.93765	-92.42136
6710	-96.17525	-91.76913
6726	-94.48163	-89.92495
6742	-94.96132	-90.4763
6757	-94.29122	-91.2043
6773	-94.86163	-88.74292
6788	-94.83069	-90.08395
6804	-94.26874	-88.53057
6820	-94.61632	-88.53797
6835	-93.07082	-87.50495
6851	-90.81762	-88.81499
6866	-92.0297	-88.24406
6882	-89.70069	-86.5954
6898	-91.44844	-87.83824
6913	-90.52425	-89.23329
6929	-90.55705	-86.45947
6944	-91.62169	-88.31301
6960	-91.80159	-89.0211
6976	-91.13806	-87.47805
6991	-94.1209	-86.77207
7007	-93.12345	-88.77705
7022	-94.65442	-88.17766
7038	-93.59003	-89.78955
7053	-93.90681	-87.85642
7069	-93.72871	-86.65112
7085	-94.53444	-87.85694
7100	-93.0388	-89.13935
7116	-94.2634	-88.4773
7131	-92.03937	-88.17731
7147	-92.97365	-88.99555
7163	-92.95889	-89.01224
7178	-93.22231	-88.57785
7194	-93.04475	-88.67632
7209	-91.17602	-88.30957
7225	-91.9577	-87.50925
7241	-91.17814	-86.3796
7256	-93.2858	-88.45101
7272	-92.22636	-87.3409
7287	-93.39672	-87.1935
7303	-93.90289	-87.64476
7318	-91.63536	-87.74218
7334	-92.00025	-88.79109
7350	-92.85632	-85.14134
7365	-93.02975	-86.41314
7381	-93.79665	-88.72074
7396	-92.23844	-88.7535
7412	-91.98574	-89.87019
7428	-92.41197	-88.45769
7443	-94.05984	-87.54525
7459	-92.60449	-88.4834
7474	-92.54769	-89.42076
7490	-93.69049	-88.5567
7506	-90.77612	-89.18455
7521	-93.63261	-88.92387
7537	-91.70918	-88.62225
7552	-92.59032	-88.74382
7568	-93.07359	-88.46649
7584	-92.7785	-88.29919
7599	-93.96475	-87.32235
7615	-91.94706	-88.63076
7630	-94.33214	-89.0286
7646	-92.50297	-88.81364
7661	-92.11806	-88.32384
7677	-93.46528	-89.63157
7693	-94.97369	-88.86237
7708	-93.4139	-89.14597
7724	-93.55981	-90.32734
7739	-94.46155	-90.79926
7755	-96.47674	-90.40594
7771	-95.17837	-90.17319
7786	-96.01322	-90.7039
7802	-97.36445	-91.07
7817	-95.79186	-89.3868
7833	-94.52357	-91.19625
7849	-94.871	-91.00118
7864	-94.77404	-89.37352
7880	-92.5814	-90.25632
7895	-92.53068	-90.55742
7911	-93.82306	-89.45865
7927	-92.64157	-90.86501
7942	-94.09116	-91.40761
7958	-93.2518	-91.3453
7973	-91.738	-91.7814
7989	-92.4949	-91.68269
8004	-95.42022	-91.50121
8020	-93.08602	-90.76432
8036	-95.72111	-92.43532
8051	-95.66962	-91.99359
8067	-93.43455	-90.4429
8082	-96.37912	-93.18157
8098	-95.92809	-92.79727
8114	-94.9287	-93.05156
8129	-96.16061	-92.02272
8145	-97.81553	-92.74157
8160	-97.87475	-94.33566
8176	-95.78786	-92.52988
8192	-95.28046	-92.14701
8207	-95.93969	-93.22624
8223	-97.858	-91.80376
8238	-95.5452	-91.53824
8254	-95.55522	-92.12555
8269	-96.00759	-91.65594
8285	-95.61522	-91.55801
8301	-96.37875	-92.68552
8316	-94.90413	-93.40297
8332	-95.82895	-93.946
8347	-96.74899	-91.85562
8363	-98.0979	-93.29288
8379	-94.71907	-93.89988
8394	-96.64813	-92.94859
8410	-94.20494	-91.58065
8425	-95.44791	-93.40564
8441	-98.28009	-93.71832
8457	-95.56734	-92.11322
8472	-98.76451	-92.40891
8488	-97.3538	-91.78665
8503	-94.5901	-91.50741
8519	-96.34737	-91.27087
8535	-95.40038	-90.92749
8550	-94.67536	-91.5779
8566	-94.52074	-91.11575
8581	-94.20592	-90.70681
8597	-92.88528	-90.05357
8612	-93.50564	-88.49927
8628	-93.04985	-90.85124
8644	-94.11822	-90.08844
8659	-91.25701	-89.99243
8675	-92.80888	-88.8238
8690	-92.03955	-89.16875
8706	-92.26625	-88.27161
8722	-92.22939	-87.76343
8737	-93.62372	-87.866
8753	-90.64725	-88.23196
8768	-91.881	-88.31824
8784	-90.26062	-86.37219
8800	-93.70722	-86.85239
8815	-91.04969	-87.84585
8831	-92.48925	-88.63697
8846	-91.89047	-86.31192
8862	-91.37901	-88.29112
8878	-92.23415	-88.66094
8893	-92.15107	-88.55906
8909	-92.63005	-88.11957
8924	-92.91584	-88.6785
8940	-93.8397	-87.98835
8955	-94.46197	-85.78486
8971	-94.02455	-86.90576
8987	-93.91969	-86.05044
9002	-94.01107	-86.2122
9018	-95.09807	-85.7801
9033	-94.45543	-85.76257
9049	-95.29928	-86.5316
9065	-95.57319	-86.23276
9080	-94.54752	-86.75869
9096	-94.67224	-87.04112
9111	-96.63502	-87.38891
9127	-95.96818	-88.28736
9143	-93.24612	-87.90532
9158	-91.86922	-89.14907
9174	-93.08153	-87.39392
9189	-93.95687	-88.83426
9205	-93.91531	-87.86972
9220	-95.43579	-88.52315
9236	-91.67329	-87.29631
9252	-92.57031	-87.17284
9267	-91.61312	-86.24569
9283	-92.26567	-86.6352
9298	-93.31787	-85.56601
9314	-93.87524	-86.03653
9330	-93.74815	-85.83832
9345	-93.60753	-86.7186
9361	-93.02931	-85.89432
9376	-93.6768	-87.34739
9392	-91.63559	-86.24176
9408	-93.29259	-87.67722
9423	-96.18462	-88.4893
9439	-96.33754	-89.18191
9454	-94.99989	-88.48197
9470	-96.5955	-91.62615
9486	-96.16686	-90.3426
9501	-94.2471	-89.9683
9517	-96.68761	-91.23489
9532	-94.88947	-89.746
9548	-94.95244	-88.77546
9563	-93.32262	-89.42476
9579	-96.38874	-89.20001
9595	-95.35931	-88.15004
9610	-95.05285	-90.43797
9626	-93.29447	-87.48056
9641	-94.99236	-88.65788
9657	-95.66234	-86.69486
9673	-93.21684	-86.87681
9688	-93.99937	-87.16515
9704	-93.94938	-87.76187
9719	-95.47121	-88.91284
9735	-95.21489	-88.50079
9751	-94.81447	-88.67826
9766	-95.42884	-88.85946
9782	-95.57977	-89.26317
9797	-94.1775	-90.25074
9813	-93.32945	-90.32437
9829	-93.46147	-89.96405
9844	-92.12649	-89.97953
9860	-92.28186	-89.1389
9875	-90.62094	-88.80165
9891	-92.55032	-88.44407
9906	-89.16393	-87.07549
9922	-88.37685	-86.00491
9938	-86.61242	-87.63199
9953	-84.97796	-87.89766
9969	-86.75365	-86.1012
9984	-86.18365	-84.65412
10000	-85.91357	-85.72946	-109
10000	-95.45582	-88.76545
10045	-97.90814	-88.99174
10089	-97.20545	-91.40491
10134	-95.70481	-89.33672
10178	-95.57312	-89.27744
10223	-95.87156	-92.30866
10267	-94.30944	-90.18194
10312	-95.91412	-89.89934
10356	-95.57699	-90.85201
10401	-95.59934	-89.73231
10445	-97.62724	-90.07942
10490	-95.86224	-89.21939
10535	-95.16341	-90.32572
10579	-92.05329	-91.35092
10624	-94.79366	-88.31026
10668	-94.70491	-88.26656
10713	-93.36092	-87.87405
10757	-94.35912	-89.23605
10802	-94.03346	-89.12828
10846	-94.15626	-90.55204
10891	-93.87503	-90.12618
10935	-91.76038	-90.50444
10980	-91.18563	-89.1269
11024	-91.62532	-89.07984
11069	-91.96813	-87.27092
11114	-92.99005	-88.43795
11158	-91.80895	-91.21103
11203	-89.39795	-89.26776
11247	-90.06782	-87.52681
11292	-91.50076	-89.07996
11336	-90.8046	-87.6304
11381	-92.39028	-89.11239
11425	-93.23068	-89.83394
11470	-94.05805	-91.57899
11514	-95.11181	-91.9085
11559	-94.18231	-92.28762
11604	-93.38857	-91.35526
11648	-94.6173	-92.27499
11693	-93.19334	-91.42372
11737	-95.93676	-93.4075
11782	-94.65324	-91.90042
11826	-96.59353	-94.49847
11871	-96.00659	-92.46769
11915	-95.27744	-94.21284
11960	-94.7454	-92.30772
12004	-96.83831	-93.13532
12049	-94.10329	-93.52268
12094	-95.26137	-91.69924
12138	-94.97546	-92.41064
12183	-95.45128	-91.56636
12227	-95.83035	-91.50825
12272	-94.99719	-90.3886
12316	-94.94806	-89.30964
12361	-93.5164	-90.33609
12405	-93.29945	-89.98441
12450	-93.19081	-89.43028
12494	-92.19715	-88.64817
12539	-92.62494	-87.71567
12584	-91.38855	-87.8553
12628	-94.16682	-87.01212
12673	-93.92177	-88.04661
12717	-92.1595	-88.06796
12762	-96.3361	-88.31616
12806	-93.41712	-89.57089
12851	-92.52679	-88.51822
12895	-93.31714	-90.72647
12940	-92.48978	-89.40704
12984	-94.28087	-87.8654
13029	-92.11309	-88.5918
13073	-93.63374	-89.62112
13118	-93.84105	-89.56759
13163	-94.12165	-91.1557
13207	-95.06577	-91.54924
13252	-94.3951	-91.33644
13296	-96.73617	-92.40017
13341	-96.41837	-92.81602
13385	-94.87993	-91.67636
13430	-94.44344	-90.82084
13474	-94.69134	-91.31232
13519	-95.46814	-93.89167
13563	-96.33995	-95.53374
13608	-95.11275	-95.65106
13653	-93.68407	-95.86455
13697	-94.21419	-89.00664
13742	-92.94684	-90.66657
13786	-97.11926	-91.17987
13831	-94.08762	-90.53313
13875	-94.58709	-90.14081
13920	-95.56256	-89.67085
13964	-96.85491	-93.05619
14009	-95.56429	-93.06336
14053	-94.12987	-92.05634
14098	-94.25718	-91.46812
14143	-95.9504	-93.43124
14187	-97.09919	-92.97263
14232	-93.3836	-90.95981
14276	-93.91087	-92.49282
14321	-94.90009	-88.20615
14365	-94.86955	-90.66602
14410	-95.03375	-90.05156
14454	-95.98113	-95.14024
14499	-95.38363	-94.3444
14543	-93.83876	-91.14802
14588	-94.19616	-93.32776
14633	-94.64259	-93.55235
14677	-92.97453	-92.63509
14722	-93.13271	-92.15986
14766	-92.90493	-93.76964
14811	-94.61159	-91.96262
14855	-92.99281	-94.09476
14900	-94.76506	-93.42161
14944	-95.24977	-97.42693
14989	-95.66757	-94.85569
15033	-93.39097	-93.93554
15078	-95.04325	-94.4059
15122	-94.81142	-95.14657
15167	-93.72497	-94.38824
15212	-94.78895	-97.02482
15256	-94.74726	-97.94551
15301	-94.70826	-97.91137
15345	-96.3679	-97.08352
15390	-95.57079	-96.45651
15434	-95.33303	-95.05444
15479	-98.49079	-100.24014
15523	-100.70525	-98.30913
15568	-97.13729	-96.56089
15612	-97.3874	-95.92579
15657	-99.51642	-99.30556
15702	-98.97257	-97.00759
15746	-99.43905	-98.7116
15791	-98.05421	-95.38834
15835	-97.85053	-94.03817
15880	-100.41475	-98.7678
15924	-100.46569	-97.2886
15969	-100.94988	-97.70118
16013	-99.00294	-95.99097
16058	-97.6325	-95.87065
16102	-94.21016	-95.40438
16147	-92.52294	-91.94405
16192	-91.28814	-91.23384
16236	-92.59271	-89.89105
16281	-92.02606	-90.3964
16325	-93.54004	-90.03614
16370	-95.27543	-91.56374
16414	-96.03462	-92.48932
16459	-96.42944	-93.34936
16503	-98.96537	-94.627
16548	-101.16059	-94.41282
16592	-100.959	-98.10471
16637	-99.39272	-96.7723
16682	-99.25814	-94.7812
16726	-98.29202	-96.30365
16771	-99.29634	-96.21278
16815	-97.95514	-95.03977
16860	-98.91825	-96.69057
16904	-99.91343	-96.69027
16949	-102.98032	-99.00776
16993	-102.47286	-97.68043
17038	-97.8385	-96.35879
17082	-98.88615	-97.05186
17127	-100.77907	-95.91782
17171	-100.03107	-96.837
17216	-101.06509	-99.2592
17261	-101.4846	-99.73051
17305	-102.69743	-99.70944
17350	-96.57032	-97.50696
17394	-97.31269	-94.38794
17439	-90.84415	-92.01585
17483	-93.59912	-89.68241
17528	-92.8479	-89.81088
17572	-92.85094	-91.75074
17617	-96.36629	-91.27215
17661	-99.06931	-95.24011
17706	-99.34509	-95.83599
17751	-101.74387	-97.62903
17795	-100.72069	-98.0014
17840	-99.22699	-97.18131
17884	-101.04204	-97.35732
17929	-100.41805	-95.94603
17973	-100.59743	-95.62055
18018	-100.77901	-95.91782
18062	-100.80117	-96.23045
18107	-98.94624	-96.46325
18151	-98.27503	-98.88113
18196	-99.89218	-95.94819
18241	-100.41995	-99.09149
18285	-101.03155	-96.28911
18330	-100.76219	-97.97421
18374	-99.50155	-98.17219
18419	-99.07117	-98.2935
18463	-98.66741	-98.73293
18508	-100.51061	-97.54234
18552	-100.21435	-96.5804
18597	-99.85167	-95.31516
18641	-100.5363	-96.31412
18686	-99.53821	-94.087
18731	-97.33124	-95.52452
18775	-97.65016	-92.94424
18820	-98.23129	-93.80837
18864	-99.28801	-94.78024
18909	-100.13451	-95.42813
18953	-100.75394	-99.42
18998	-100.73295	-100.14181
19042	-100.74811	-101.86789
19087	-102.70819	-102.7641
19131	-102.14599	-100.92941
19176	-101.60247	-103.3223
19220	-102.02295	-99.56112
19265	-102.50057	-101.62222
19310	-102.82607	-100.62276
19354	-103.41515	-101.2584
19399	-100.96447	-99.60476
19443	-100.19982	-100.52106
19488	-102.2619	-100.83765
19532	-104.45062	-102.36434
19577	-103.45355	-99.2169
19621	-102.52937	-99.75374
19666	-102.91294	-99.83561
19710	-102.91732	-99.93332
19755	-101.38663	-98.04702
19800	-99.14142	-100.92118
19844	-100.35649	-99.27202
19889	-97.60946	-96.69895
19933	-95.62528	-96.84878
19978	-102.47644	-94.87418
20022	-96.61289	-91.95769
20067	-99.7343	-93.1929
20111	-96.8268	-93.85093
20156	-100.51644	-97.1141
20200	-101.28882	-98.51137
20245	-99.74345	-98.03824
20290	-100.44813	-97.49496
20334	-99.84719	-99.48527
20379	-98.89028	-98.2388
20423	-100.07709	-97.87063
20468	-101.38174	-97.90705
20512	-101.5653	-100.04172
20557	-101.75993	-101.609
20601	-100.74462	-100.88178
20646	-101.21069	-100.22625
20690	-102.18725	-98.78889
20735	-102.30163	-99.61472
20780	-99.94426	-103.13078
20824	-100.15297	-101.94208
20869	-101.92368	-100.95841
20913	-101.28807	-102.94015
20958	-105.06376	-103.51453
21002	-101.56225	-102.5272
21047	-102.24709	-100.8714
21091	-102.22099	-100.93222
21136	-101.2181	-99.52086
21180	-99.14034	-101.38353
21225	-100.04009	-100.06403
21269	-100.15344	-100.55363
21314	-101.681	-100.44953
21359	-102.34995	-100.30238
21403	-103.86546	-100.85924
21448	-102.3399	-100.8205
21492	-102.631	-99.52843
21537	-102.52622	-101.25119
21581	-103.13971	-101.1915
21626	-102.51719	-99.96671
21670	-101.99315	-99.13012
21715	-101.12524	-100.20356
21759	-101.11891	-97.48865
21804	-100.4974	-97.05809
21849	-101.16107	-99.18999
21893	-101.55424	-97.63117
21938	-102.80064	-100.06794
21982	-100.69767	-98.35261
22027	-103.33674	-98.70499
22071	-100.56999	-98.88915
22116	-102.18019	-98.20526
22160	-100.57844	-99.06359
22205	-100.7084	-99.78902
22249	-101.50529	-102.61153
22294	-103.90319	-99.59907
22339	-101.53429	-99.99884
22383	-99.85996	-97.05594
22428	-98.09674	-96.89355
22472	-95.6186	-93.73429
22517	-96.25355	-92.328
22561	-97.68056	-94.4155
22606	-100.75674	-93.93118
22650	-100.16732	-95.22737
22695	-101.98813	-98.98131
22739	-104.36015	-100.51188
22784	-103.23531	-102.17343
22829	-105.19584	-102.30079
22873	-100.7819	-100.37812
22918	-100.40764	-102.68205
22962	-104.001	-102.46576
23007	-103.20251	-99.14309
23051	-103.18009	-102.04195
23096	-103.2508	-99.35852
23140	-102.13277	-100.11475
23185	-104.41395	-99.14456
23229	-102.24812	-103.38101
23274	-102.1143	-99.82797
23318	-102.52313	-98.34382
23363	-101.44136	-99.96493
23408	-100.63417	-98.45201
23452	-101.21684	-99.33907
23497	-100.54574	-100.31439
23541	-102.26282	-96.57265
23586	-101.94305	-98.77293
23630	-101.0375	-101.46041
23675	-101.7675	-98.90494
23719	-99.91103	-97.95557
23764	-98.29606	-95.53872
23808	-100.84487	-94.76905
23853	-98.47519	-96.54909
23898	-101.033	-97.05132
23942	-103.40621	-97.63486
23987	-101.81947	-98.0801
24031	-103.17675	-99.24399
24076	-103.6623	-97.59444
24120	-102.06414	-98.95301
24165	-103.0924	-97.77517
24209	-101.05887	-99.22278
24254	-103.48247	-98.64312
24298	-101.63725	-99.2053
24343	-103.07894	-99.88746
24388	-103.51709	-99.0527
24432	-104.61288	-99.35539
24477	-103.94359	-99.82671
24521	-100.27545	-100.43695
24566	-102.70337	-102.2547
24610	-105.77188	-101.81894
24655	-104.81587	-106.59422
24699	-104.14652	-102.08188
24744	-105.09324	-102.15848
24788	-107.1202	-102.15594
24833	-101.443	-100.29801
24878	-102.72284	-101.0464
24922	-101.93217	-98.44694
24967	-102.42125	-98.8533
25011	-102.35482	-98.61793
25056	-99.87559	-100.74697
25100	-103.69156	-97.50181
25145	-104.1025	-97.87395
25189	-102.80216	-99.73915
25234	-101.33761	-99.49614
25278	-104.03665	-100.55874
25323	-101.6746	-97.47382
25367	-101.91782	-98.39362
25412	-101.20197	-97.52655
25457	-101.3283	-97.99947
25501	-104.10347	-98.03795
25546	-102.71456	-99.06564
25590	-100.93402	-97.18311
25635	-101.70957	-100.22218
25679	-102.13312	-97.63277
25724	-101.57509	-96.34439
25768	-100.88819	-100.07784
25813	-98.35556	-101.68468
25857	-101.26009	-96.27368
25902	-103.12545	-97.84487
25947	-101.20145	-98.02491
25991	-102.33176	-98.42704
26036	-103.42462	-98.1091
26080	-105.20366	-99.74369
26125	-101.9638	-101.07413
26169	-101.41444	-97.15293
26214	-100.23694	-102.07992
26258	-100.37594	-100.23749
26303	-103.79931	-101.36199
26347	-102.34634	-103.99694
26392	-105.32991	-102.7722
26437	-103.83726	-102.51001
26481	-102.94444	-100.59999
26526	-104.23978	-102.97628
26570	-102.2466	-99.99787
26615	-104.61343	-101.77546
26659	-103.95879	-101.69442
26704	-103.09074	-100.40839
26748	-104.32874	-98.76811
26793	-103.32603	-98.37488
26837	-102.13997	-98.81187
26882	-102.21734	-98.71285
26927	-102.75664	-97.73286
26971	-102.18355	-98.45363
27016	-102.43188	-98.39324
27060	-101.18624	-97.33925
27105	-101.71668	-96.82449
27149	-101.31986	-97.11007
27194	-101.09352	-97.0943
27238	-101.89025	-96.54915
27283	-100.7943	-96.44796
27327	-102.92809	-99.133
27372	-102.81182	-97.5875
27416	-100.95209	-96.64026
27461	-102.71897	-94.65231
27506	-101.5725	-95.25181
27550	-101.67307	-96.41175
27595	-100.38472	-95.4204
27639	-99.70672	-95.07163
27684	-101.2977	-97.28438
27728	-102.3262	-97.20534
27773	-102.4083	-98.21757
27817	-102.75164	-98.43351
27862	-103.39153	-100.70274
27906	-101.29461	-98.25639
27951	-100.84684	-99.54032
27996	-103.33611	-99.546
28040	-102.05399	-100.74022
28085	-103.19444	-100.72098
28129	-102.12147	-101.59566
28174	-102.78391	-100.08837
28218	-100.90172	-101.22195
28263	-101.35069	-101.36332
28307	-102.4555	-101.22232
28352	-102.23214	-101.91621
28396	-104.20119	-101.01781
28441	-106.69786	-99.7205
28486	-102.48928	-100.58735
28530	-102.67304	-100.35868
28575	-103.36865	-102.40938
28619	-103.46801	-99.16026
28664	-103.53009	-100.23056
28708	-103.41246	-100.16049
28753	-103.43562	-98.22232
28797	-102.08636	-98.52137
28842	-103.41399	-99.4075
28886	-101.02394	-98.48025
28931	-100.74769	-97.80819
28976	-103.00571	-96.76097
29020	-103.49062	-97.09688
29065	-101.88672	-97.74215
29109	-102.53481	-98.80044
29154	-101.69087	-97.28111
29198	-101.40772	-97.64603
29243	-102.98421	-97.17209
29287	-100.80356	-96.4537
29332	-103.57606	-96.83634
29376	-102.76251	-98.00662
29421	-100.50022	-98.08957
29465	-101.49901	-97.95653
29510	-102.3872	-98.63442
29555	-102.70294	-98.45164
29599	-101.97037	-100.25007
29644	-102.05245	-98.81571
29688	-103.93634	-99.59467
29733	-102.79484	-100.47326
29777	-102.17742	-100.65068
29822	-102.96629	-99.0642
29866	-103.4072	-98.59076
29911	-101.68626	-99.62836
29955	-101.38457	-99.48651
30000	-102.74651	-101.12648
30000	-103.8971	-101.9411	-125
30156	-103.86985	-100.40849
30312	-106.50954	-101.33736
30468	-103.41776	-101.60001
30624	-103.12103	-100.62032
30780	-101.93347	-99.78165
30935	-103.64209	-97.05311
31091	-103.22821	-98.11359
31247	-100.51503	-96.90415
31403	-103.12372	-98.78292
31559	-104.5614	-98.9118
31715	-103.53957	-99.05975
31871	-106.76431	-103.22889
32027	-106.12542	-104.52901
32183	-105.62556	-100.99472
32339	-106.05309	-101.00406
32494	-101.92107	-100.10352
32650	-101.54396	-98.16637
32806	-103.59281	-99.92234
32962	-103.96031	-99.35765
33118	-101.71205	-100.45946
33274	-102.56816	-99.79641
33430	-103.32803	-99.28293
33586	-103.7114	-99.5342
33742	-102.06627	-100.00969
33898	-103.64565	-101.4723
34053	-107.21938	-104.31334
34209	-105.71663	-102.41789
34365	-105.18418	-103.1059
34521	-105.64911	-100.46432
34677	-104.11528	-98.3567
34833	-102.4835	-98.08867
34989	-101.96174	-99.36777
35145	-104.53066	-100.71934
35301	-106.04179	-103.15582
35457	-105.97192	-103.83712
35612	-109.66668	-106.43632
35768	-108.23313	-105.36719
35924	-106.41449	-100.79758
36080	-106.32506	-102.60486
36236	-102.37931	-98.35429
36392	-104.1578	-97.57743
36548	-103.56507	-101.59876
36704	-104.89819	-99.49595
36860	-104.19656	-101.06722
37016	-103.65269	-101.17188
37171	-105.11376	-100.77665
37327	-106.08914	-104.34149
37483	-109.48012	-106.06625
37639	-105.98009	-103.06235
37795	-106.36871	-103.62949
37951	-108.57532	-103.48966
38107	-104.25162	-102.63605
38263	-105.28953	-100.23024
38419	-104.12182	-100.59226
38575	-103.11761	-100.84525
38731	-102.94629	-99.8628
38886	-104.24827	-104.76466
39042	-103.45141	-103.79491
39198	-108.04958	-107.46012
39354	-107.36465	-104.21922
39510	-107.33361	-105.78418
39666	-106.39838	-104.53803
39822	-105.74508	-103.00705
39978	-103.62172	-99.11369
40134	-105.30806	-99.60725
40290	-103.56762	-100.38711
40445	-104.3658	-101.73972
40601	-104.93871	-102.863
40757	-105.56503	-102.32004
40913	-106.80966	-104.34589
41069	-109.35699	-107.86606
41225	-106.81688	-102.90555
41381	-107.54456	-104.49936
41537	-109.66824	-105.72012
41693	-105.53743	-101.83689
41849	-105.22988	-101.9539
42004	-105.80687	-101.87934
42160	-104.27062	-102.20336
42316	-103.96168	-101.03016
42472	-105.64105	-100.91319
42628	-106.85849	-103.58053
42784	-108.00264	-102.5075
42940	-108.79832	-108.87413
43096	-107.47534	-106.35087
43252	-109.00816	-102.75303
43408	-107.13454	-104.30093
43563	-107.1277	-102.56705
43719	-104.74357	-101.39962
43875	-104.82515	-103.30242
44031	-106.14188	-101.19975
44187	-105.7096	-102.59707
44343	-105.80955	-101.48009
44499	-106.27398	-104.38316
44655	-109.36455	-104.88972
44811	-107.38336	-107.43906
44967	-105.94399	-106.34616
45122	-108.10469	-105.49613
45278	-107.92	-103.49962
45434	-105.5425	-102.16018
45590	-107.25894	-102.9004
45746	-105.14709	-102.43014
45902	-106.19163	-105.05414
46058	-105.53304	-102.54288
46214	-106.77139	-100.95997
46370	-105.75291	-102.10274
46526	-109.19469	-105.1893
46682	-109.83842	-107.66718
46837	-109.58155	-105.43641
46993	-110.30608	-102.4993
47149	-108.35451	-103.85461
47305	-104.84014	-101.34926
47461	-105.09374	-102.44907
47617	-106.62453	-101.73429
47773	-107.148	-103.06184
47929	-107.30153	-103.40476
48085	-108.70059	-105.51051
48241	-106.35738	-105.80836
48396	-107.83401	-107.20444
48552	-108.02569	-106.71803
48708	-108.14639	-102.06906
48864	-107.57506	-102.93492
49020	-108.05322	-103.31879
49176	-106.82555	-103.36331
49332	-108.179	-101.46369
49488	-107.25953	-103.62594
49644	-105.52632	-102.27535
49800	-106.67205	-103.83012
49955	-105.8341	-103.54218
50111	-109.57339	-103.26358
50267	-108.18755	-107.44465
50423	-108.34086	-104.45047
50579	-108.73906	-106.21245
50735	-106.91038	-105.09141
50891	-107.39501	-103.5591
51047	-106.91925	-105.21524
51203	-107.07472	-102.81242
51359	-106.39856	-103.02312
51514	-106.04079	-101.97258
51670	-107.44181	-103.20736
51826	-107.4273	-104.28585
51982	-108.90966	-104.67875
52138	-110.10274	-105.98155
52294	-111.73114	-107.25961
52450	-107.33689	-105.02384
52606	-108.98469	-105.99845
52762	-108.16782	-103.46456
52918	-107.54141	-102.77047
53073	-107.6046	-103.35796
53229	-105.9437	-104.39189
53385	-106.16866	-103.33118
53541	-107.28457	-104.11328
53697	-108.38088	-104.56454
53853	-108.01589	-107.41906
54009	-112.19769	-108.39054
54165	-108.53759	-106.92703
54321	-108.01266	-104.7718
54477	-108.26652	-105.0875
54633	-109.0161	-104.84616
54788	-107.51281	-102.41578
54944	-106.10974	-102.01036
55100	-105.95806	-102.66075
55256	-106.96844	-103.28875
55412	-108.98169	-104.53124
55568	-108.74166	-106.09191
55724	-109.60708	-108.81282
55880	-111.4068	-108.56944
56036	-110.62538	-106.35581
56192	-107.63644	-104.62819
56347	-106.81234	-102.97144
56503	-106.25512	-102.9288
56659	-107.13762	-103.40672
56815	-106.9138	-103.23566
56971	-108.43328	-103.6103
57127	-108.54926	-105.65711
57283	-107.51243	-106.92072
57439	-110.39806	-106.06137
57595	-110.19574	-107.66957
57751	-109.88359	-108.02856
57906	-111.81405	-106.10916
58062	-109.56875	-107.38541
58218	-108.45931	-103.56008
58374	-107.00205	-101.98715
58530	-108.39094	-103.95118
58686	-109.59469	-102.85497
58842	-108.63731	-104.94238
58998	-106.46875	-104.08634
59154	-108.56239	-105.8377
59310	-107.77493	-107.04322
59465	-110.97929	-110.56626
59621	-109.16289	-109.00253
59777	-110.47053	-109.29858
59933	-108.93025	-105.05882
60089	-106.4957	-105.05389
60245	-106.59381	-105.17084
60401	-107.72156	-101.87162
60557	-106.672	-105.79859
60713	-109.23501	-105.76436
60869	-108.82544	-108.14074
61024	-109.20359	-104.30144
61180	-107.4598	-107.9058
61336	-109.58061	-108.46624
61492	-109.80461	-108.82489
61648	-109.01636	-107.59711
61804	-109.86907	-105.60788
61960	-107.64809	-105.46012
62116	-107.32819	-103.18757
62272	-107.73492	-102.74697
62428	-108.15218	-105.68059
62584	-108.27949	-104.99856
62739	-109.81144	-102.83711
62895	-109.70332	-108.46348
63051	-110.84528	-108.07376
63207	-111.09272	-107.15561
63363	-109.67214	-107.64276
63519	-109.92075	-106.64916
63675	-108.99053	-101.54637
63831	-106.36702	-102.25105
63987	-108.141	-104.30113
64143	-108.22039	-105.86753
64298	-108.47694	-105.20528
64454	-109.04547	-108.17824
64610	-108.30941	-106.49863
64766	-110.53405	-105.17222
64922	-112.05064	-107.31499
65078	-111.47844	-108.58744
65234	-110.29671	-106.53243
65390	-111.56707	-107.76187
65546	-110.98859	-105.49628
65702	-108.78136	-105.7118
65857	-109.59366	-105.62568
66013	-106.47869	-104.59516
66169	-107.94618	-104.97995
66325	-109.69814	-104.02984
66481	-109.77826	-105.48446
66637	-110.44392	-109.54212
66793	-110.67894	-109.06351
66949	-110.74356	-107.89514
67105	-113.31871	-106.66503
67261	-111.23171	-107.98428
67416	-106.95155	-104.65668
67572	-109.10462	-106.44131
67728	-106.97197	-104.61044
67884	-109.64384	-106.49503
68040	-109.21155	-107.11691
68196	-109.10878	-105.98984
68352	-110.85374	-106.54061
68508	-110.24914	-110.22134
68664	-111.91194	-109.14868
68820	-110.35746	-107.73918
68976	-110.97184	-105.98525
69131	-110.822	-104.91486
69287	-109.82803	-106.05664
69443	-108.16469	-105.29719
69599	-108.88701	-105.77084
69755	-108.45863	-105.22469
69911	-109.75481	-104.22195
70067	-107.44001	-105.68842
70223	-110.29497	-108.63624
70379	-109.49506	-108.02158
70535	-114.56311	-110.41568
70690	-112.32559	-106.46738
70846	-112.25095	-105.11186
71002	-109.61099	-104.03909
71158	-109.89922	-108.61762
71314	-108.7195	-104.23181
71470	-108.64086	-105.34945
71626	-111.63728	-105.08432
71782	-110.77547	-106.88009
71938	-110.56574	-107.94939
72094	-109.09316	-108.91749
72249	-112.39876	-110.77532
72405	-112.03922	-107.14121
72561	-110.74329	-110.74019
72717	-111.01892	-108.34166
72873	-108.29478	-106.09562
73029	-108.46475	-104.90345
73185	-108.99926	-104.42231
73341	-107.82328	-104.20898
73497	-109.11844	-104.91738
73653	-109.83726	-105.54201
73808	-108.30056	-106.55099
73964	-112.39732	-106.68991
74120	-110.59898	-111.18124
74276	-112.23859	-108.18466
74432	-111.59206	-105.78049
74588	-110.88088	-106.44839
74744	-108.09882	-104.35918
74900	-107.94449	-105.3184
75056	-109.11165	-106.08895
75212	-109.50119	-103.96134
75367	-109.31822	-105.14999
75523	-110.73199	-105.96464
75679	-111.04882	-108.17102
75835	-109.19476	-107.10976
75991	-112.54644	-109.12762
76147	-110.76994	-106.14793
76303	-113.16358	-107.09781
76459	-109.96999	-107.24806
76615	-110.95061	-106.23689
76771	-110.2942	-103.67976
76927	-108.74551	-104.9091
77082	-107.52569	-103.87906
77238	-108.49564	-108.31688
77394	-109.18991	-105.80792
77550	-110.24581	-108.73547
77706	-113.08031	-109.23978
77862	-113.14103	-112.11361
78018	-110.69895	-107.65419
78174	-109.41166	-108.97453
78330	-110.95164	-107.71978
78486	-108.44466	-106.63664
78641	-109.69962	-106.72159
78797	-110.39781	-103.40958
78953	-109.93538	-106.08949
79109	-108.7397	-106.32047
79265	-111.97274	-104.88562
79421	-110.46578	-108.10045
79577	-110.89098	-108.68163
79733	-111.26306	-108.89162
79889	-110.38799	-107.17292
80045	-103.90137	-101.2807
80200	-109.52612	-103.24449
80356	-110.73449	-107.81619
80512	-110.61264	-105.88359
80668	-110.39078	-106.70715
80824	-108.87749	-106.28405
80980	-111.80106	-107.31993
81136	-109.76662	-108.35985
81292	-111.79746	-107.97606
81448	-111.00921	-109.55634
81604	-111.90975	-108.22239
81759	-112.68853	-105.88734
81915	-110.29492	-106.91468
82071	-110.52144	-107.62528
82227	-111.5507	-106.76541
82383	-110.05972	-105.19141
82539	-109.03481	-106.08345
82695	-108.24007	-107.78551
82851	-108.46653	-106.62841
83007	-110.86453	-106.67709
83163	-114.37362	-112.35438
83318	-112.7248	-112.23069
83474	-113.14864	-112.53442
83630	-112.90655	-107.92359
83786	-109.82328	-106.75478
83942	-108.77466	-106.4873
84098	-109.19454	-104.29732
84254	-108.36799	-103.96941
84410	-108.944	-105.48184
84566	-109.39528	-105.4568
84722	-110.85914	-107.19738
84878	-111.48366	-109.11897
85033	-110.72688	-110.74796
85189	-112.73902	-111.25262
85345	-112.55902	-110.21116
85501	-110.04572	-107.99903
85657	-111.09688	-108.73993
85813	-110.17225	-106.10251
85969	-109.61766	-108.26016
86125	-110.46053	-106.35903
86281	-109.29101	-105.6772
86437	-109.26192	-107.18184
86592	-109.29445	-107.86124
86748	-112.08925	-108.66069
86904	-113.50225	-110.62501
87060	-114.02001	-111.42097
87216	-111.40214	-108.57559
87372	-114.08391	-110.62016
87528	-110.79332	-107.15926
87684	-110.13328	-106.67932
87840	-109.82788	-108.10899
87996	-107.97688	-104.8153
88151	-108.9832	-107.37456
88307	-108.49016	-108.45811
88463	-111.32697	-108.41726
88619	-112.80288	-110.35952
88775	-111.70409	-112.53398
88931	-111.42444	-109.64794
89087	-111.20356	-108.13012
89243	-112.47662	-106.30747
89399	-111.85109	-107.12434
89555	-108.80101	-104.65741
89710	-110.57434	-104.62059
89866	-111.19114	-106.34676
90022	-108.65715	-107.04429
90178	-112.0764	-106.57188
90334	-112.74739	-105.72006
90490	-113.4667	-111.02676
90646	-112.847	-111.68712
90802	-110.50689	-110.44835
90958	-110.05792	-105.97831
91114	-111.25095	-109.00009
91269	-111.83056	-107.75953
91425	-109.19285	-109.07518
91581	-109.29032	-105.91288
91737	-109.81359	-106.71655
91893	-109.59926	-106.30818
92049	-110.30962	-107.97441
92205	-110.89461	-109.35942
92361	-111.69449	-113.52066
92517	-113.94485	-109.11984
92673	-110.55559	-108.93898
92829	-116.41507	-108.30032
92984	-111.54539	-106.74668
93140	-108.48162	-107.09806
93296	-109.73039	-105.71697
93452	-110.05874	-107.85806
93608	-112.24746	-105.82358
93764	-113.32412	-108.0043
93920	-112.46624	-109.38011
94076	-111.87719	-111.1393
94232	-113.75841	-112.77645
94388	-112.34941	-109.26106
94543	-116.393	-108.28671
94699	-113.67169	-109.59764
94855	-113.47191	-108.69497
95011	-110.40265	-108.92478
95167	-111.39761	-105.99337
95323	-111.28682	-106.44356
95479	-110.18378	-106.20642
95635	-111.53499	-109.81285
95791	-112.23394	-108.00626
95947	-112.34106	-109.09562
96102	-113.7843	-113.23564
96258	-114.60789	-110.50384
96414	-111.04344	-109.17226
96570	-112.82548	-108.37012
96726	-110.34466	-109.39272
96882	-111.64038	-106.86601
97038	-108.49066	-107.51345
97194	-109.26141	-108.35616
97350	-111.94137	-107.67441
97506	-111.52453	-107.50472
97661	-111.64989	-109.61246
97817	-111.41515	-107.84103
97973	-113.40156	-110.59509
98129	-111.47628	-109.72919
98285	-111.40551	-107.80431
98441	-112.48656	-108.8568
98597	-111.27534	-107.73824
98753	-110.29769	-106.59348
98909	-110.89794	-106.849
99065	-107.97864	-106.28968
99220	-110.83724	-108.62016
99376	-112.69406	-107.72272
99532	-111.84616	-109.17234
99688	-112.44972	-110.40363
99844	-114.23118	-112.18809
100000	-112.64564	-109.49832	-132
100000	-111.96514	-108.33704
100445	-110.85524	-109.7767
100891	-109.63355	-108.7145
101336	-111.09743	-109.68478
101782	-112.0145	-110.72726
102227	-112.64975	-111.4029
102673	-113.49406	-111.84309
103118	-113.49639	-110.70547
103563	-110.76872	-111.14145
104009	-109.96474	-111.7096
104454	-111.22488	-108.00219
104900	-109.34937	-110.31206
105345	-109.27062	-107.95985
105791	-110.32036	-106.6336
106236	-110.51805	-108.01353
106682	-109.73187	-107.7188
107127	-111.76168	-110.01816
107572	-109.76278	-108.83231
108018	-111.13105	-107.92303
108463	-110.27892	-108.52641
108909	-111.82345	-108.69084
109354	-111.06014	-109.69353
109800	-112.33203	-108.05112
110245	-109.28851	-108.70934
110690	-110.00322	-107.77236
111136	-109.75124	-108.95704
111581	-110.88148	-108.99465
112027	-112.3584	-110.79555
112472	-110.50072	-109.17954
112918	-109.98562	-108.41466
113363	-110.8977	-109.6343
113808	-113.85112	-109.35618
114254	-111.43755	-109.48155
114699	-112.63163	-107.91649
115145	-111.20862	-108.3696
115590	-109.8158	-108.03922
116036	-108.80379	-107.82568
116481	-109.97335	-107.74312
116927	-110.59132	-106.26157
117372	-110.73319	-107.08024
117817	-110.49475	-106.15368
118263	-111.98734	-109.24262
118708	-110.00902	-109.16181
119154	-108.98351	-107.15118
119599	-109.22613	-109.62011
120045	-111.29919	-109.89408
120490	-114.28887	-108.5127
120935	-113.53632	-111.44285
121381	-111.90465	-109.21344
121826	-113.33501	-109.87306
122272	-113.18944	-112.36268
122717	-111.04945	-109.89243
123163	-111.55716	-109.60172
123608	-109.62462	-110.44934
124053	-113.51247	-111.69566
124499	-112.28782	-110.35941
124944	-111.06324	-106.60462
125390	-111.64276	-109.49242
125835	-113.0003	-110.09266
126281	-110.97114	-108.18725
126726	-110.00145	-108.26009
127171	-110.52947	-110.54203
127617	-107.75475	-108.1561
128062	-112.78992	-108.89629
128508	-110.73484	-108.45191
128953	-110.04204	-107.57926
129399	-109.96071	-110.35744
129844	-111.64075	-108.46461
130290	-110.73222	-109.40714
130735	-111.18012	-109.34249
131180	-112.98862	-108.95345
131626	-109.16076	-106.80656
132071	-112.38295	-109.71382
132517	-111.1407	-111.38984
132962	-113.49014	-109.98231
133408	-111.86799	-111.42045
133853	-110.90006	-110.63235
134298	-112.48444	-106.65222
134744	-110.30137	-109.64478
135189	-110.29026	-106.00222
135635	-112.25855	-108.94225
136080	-109.72518	-108.27071
136526	-110.20569	-110.56641
136971	-109.89366	-108.60796
137416	-111.05476	-108.53816
137862	-112.3709	-106.83859
138307	-110.5317	-106.68004
138753	-110.75869	-108.84001
139198	-110.28174	-110.23241
139644	-111.17035	-108.82496
140089	-110.98661	-108.60776
140535	-109.9893	-110.94644
140980	-111.70124	-111.1385
141425	-112.23869	-110.12314
141871	-111.45369	-111.42166
142316	-112.42384	-109.40022
142762	-113.91912	-111.28108
143207	-111.08921	-110.17231
143653	-112.05212	-108.83418
144098	-114.65208	-108.83031
144543	-111.23475	-109.38566
144989	-112.48574	-108.12962
145434	-110.50063	-108.42672
145880	-109.03485	-107.31094
146325	-113.26038	-109.41856
146771	-114.40366	-107.58609
147216	-111.97219	-108.37686
147661	-112.94172	-109.22179
148107	-110.53841	-109.03761
148552	-112.00732	-108.93141
148998	-110.02254	-109.29804
149443	-114.86351	-108.89656
149889	-111.7125	-111.82291
150334	-109.68575	-109.03961
150780	-111.83869	-112.52734
151225	-110.30101	-109.1712
151670	-112.52879	-109.45725
152116	-112.14258	-109.5546
152561	-114.51947	-110.46784
153007	-110.15051	-109.3543
153452	-112.74915	-108.61639
153898	-109.94956	-110.49194
154343	-112.7621	-110.15749
154788	-112.5728	-109.01675
155234	-109.29162	-108.05472
155679	-111.42082	-107.20389
156125	-108.46372	-107.2345
156570	-110.65474	-109.70553
157016	-110.96161	-107.91697
157461	-112.12574	-108.18039
157906	-111.0747	-109.45705
158352	-110.78066	-110.17242
158797	-109.3788	-110.71164
159243	-108.18121	-108.18953
159688	-111.27592	-109.55939
160134	-111.30129	-111.19056
160579	-113.22532	-112.68194
161024	-112.41832	-111.99476
161470	-112.59188	-111.73981
161915	-110.39116	-111.87234
162361	-110.67782	-108.16079
162806	-108.48954	-108.39804
163252	-110.29534	-110.69553
163697	-112.82562	-110.84898
164143	-112.5187	-108.91469
164588	-110.07347	-109.63934
165033	-111.21399	-109.41495
165479	-113.90582	-107.42007
165924	-111.22762	-109.39922
166370	-110.47715	-108.95574
166815	-110.05351	-107.87894
167261	-111.97174	-108.77652
167706	-108.42405	-111.69191
168151	-112.49966	-108.88959
168597	-110.65434	-110.25007
169042	-112.19955	-111.40249
169488	-115.01549	-110.11961
169933	-110.62822	-111.27511
170379	-113.47624	-110.07262
170824	-108.72262	-110.40474
171269	-112.47972	-109.69863
171715	-112.80334	-108.21022
172160	-110.21609	-111.12501
172606	-112.13129	-107.72338
173051	-115.08934	-109.01424
173497	-112.25726	-108.24686
173942	-111.668	-109.26769
174388	-109.38794	-108.37344
174833	-112.16526	-107.70164
175278	-110.38544	-110.84806
175724	-111.80666	-107.99719
176169	-113.27634	-110.04931
176615	-113.62622	-108.9632
177060	-110.96441	-108.22434
177506	-111.54671	-108.34891
177951	-111.9303	-108.66478
178396	-111.92845	-110.69472
178842	-112.10209	-111.49547
179287	-111.7609	-111.66532
179733	-110.49489	-112.88712
180178	-110.73594	-110.07625
180624	-113.4036	-113.86081
181069	-112.30916	-109.78182
181514	-110.1808	-110.14324
181960	-111.97176	-110.43374
182405	-110.01601	-110.45209
182851	-113.09836	-110.11551
183296	-109.19441	-110.89644
183742	-111.36241	-110.4403
184187	-110.37672	-106.44188
184633	-111.31162	-105.16219
185078	-111.23931	-108.19918
185523	-109.22842	-107.6695
185969	-111.76522	-106.84144
186414	-109.87986	-108.69626
186860	-109.68939	-108.81548
187305	-110.92349	-111.25601
187751	-111.39915	-109.93949
188196	-110.97891	-109.52355
188641	-111.30868	-111.70535
189087	-111.46408	-109.81085
189532	-111.14528	-110.97639
189978	-109.77334	-109.56426
190423	-110.77074	-112.91056
190869	-112.22144	-109.97
191314	-111.05253	-108.74094
191759	-112.37081	-110.52022
192205	-110.68645	-109.42149
192650	-113.88848	-110.68259
193096	-112.46344	-108.38176
193541	-112.37316	-108.81457
193987	-111.09015	-108.18531
194432	-109.74058	-107.46504
194878	-112.14119	-109.0715
195323	-112.34484	-108.25876
195768	-112.65069	-106.34668
196214	-110.88681	-108.30915
196659	-111.13195	-108.38936
197105	-111.27453	-110.0672
197550	-109.10988	-108.57616
197996	-107.93126	-110.34835
198441	-113.88184	-109.09488
198886	-114.17059	-113.11332
199332	-110.76688	-108.55832
199777	-114.11694	-106.9463
200223	-112.89696	-111.71658
200668	-113.83489	-112.54141
201114	-111.4812	-107.3214
201559	-111.59978	-110.91913
202004	-114.61678	-109.60058
202450	-111.56299	-108.47284
202895	-112.73194	-110.4457
203341	-111.27258	-109.70006
203786	-110.5707	-109.78781
204232	-110.62938	-109.39122
204677	-113.68391	-108.48438
205122	-111.03778	-107.79157
205568	-110.65895	-109.28446
206013	-109.84007	-107.45499
206459	-112.06572	-107.98918
206904	-112.25197	-109.7564
207350	-112.80769	-107.29269
207795	-111.18309	-108.16632
208241	-111.31086	-110.67478
208686	-112.93819	-109.59884
209131	-111.77301	-108.07981
209577	-110.46806	-107.98465
210022	-110.12344	-111.00625
210468	-113.99674	-111.54734
210913	-110.59241	-108.7462
211359	-111.81743	-110.31109
211804	-110.89124	-109.07691
212249	-110.99585	-108.5895
212695	-110.51018	-109.71098
213140	-109.51822	-108.79937
213586	-111.22625	-109.32218
214031	-109.86259	-107.53775
214477	-110.66656	-110.17528
214922	-111.19925	-112.32709
215367	-111.92496	-107.77016
215813	-110.2473	-108.68369
216258	-112.06701	-109.78353
216704	-111.02196	-109.20982
217149	-113.94975	-109.22978
217595	-110.54402	-109.79782
218040	-111.65832	-109.07845
218486	-111.78153	-110.03629
218931	-112.23297	-108.71328
219376	-110.98851	-108.63184
219822	-110.65766	-108.47098
220267	-114.25262	-110.42951
220713	-111.03484	-107.32449
221158	-111.54159	-110.81505
221604	-110.91042	-108.68584
222049	-110.06634	-110.75101
222494	-111.26715	-109.97134
222940	-113.59398	-106.67562
223385	-110.61882	-109.18582
223831	-109.42294	-110.14366
224276	-110.37139	-108.13845
224722	-113.38609	-109.27174
225167	-113.67122	-108.49387
225612	-109.70649	-108.80539
226058	-113.4558	-108.88886
226503	-109.38851	-108.30622
226949	-110.43541	-107.01699
227394	-110.49119	-112.73199
227840	-112.47624	-108.83403
228285	-113.30078	-110.89094
228731	-114.18451	-110.25347
229176	-112.41316	-111.56618
229621	-109.19449	-111.64322
230067	-110.45879	-110.49219
230512	-108.66061	-109.74274
230958	-110.78782	-109.7482
231403	-113.95898	-109.4925
231849	-110.37113	-109.7814
232294	-111.26301	-109.61395
232739	-107.21251	-107.48853
233185	-115.17576	-109.81741
233630	-109.75149	-108.96204
234076	-112.10219	-107.46613
234521	-108.17834	-109.62281
234967	-111.12019	-107.7158
235412	-109.04317	-109.73866
235857	-113.1283	-110.54562
236303	-108.83285	-109.77806
236748	-110.74809	-108.8104
237194	-109.37484	-108.944
237639	-111.09038	-109.48142
238085	-111.9562	-110.25663
238530	-115.7022	-109.96269
238976	-112.34632	-107.39455
239421	-110.73769	-110.55789
239866	-112.83928	-110.39139
240312	-113.08648	-109.79376
240757	-110.72991	-110.07722
241203	-109.60796	-109.88101
241648	-109.29456	-108.0437
242094	-110.34653	-110.22254
242539	-112.52576	-109.74556
242984	-112.41372	-108.91492
243430	-110.97222	-109.26236
243875	-110.25716	-107.70956
244321	-111.27259	-107.66195
244766	-109.8775	-109.666
245212	-110.78424	-112.43897
245657	-111.38866	-105.23262
246102	-109.58938	-108.29715
246548	-110.25543	-107.14325
246993	-108.92059	-108.22075
247439	-110.88181	-108.19664
247884	-111.38187	-109.87601
248330	-109.47906	-110.86582
248775	-111.90491	-111.77712
249220	-113.28188	-108.84957
249666	-111.49869	-109.87931
250111	-111.90588	-108.29428
250557	-110.6911	-107.33189
251002	-111.76644	-110.14491
251448	-112.1847	-108.77925
251893	-110.35824	-110.04332
252339	-110.81155	-108.95849
252784	-111.19981	-106.52916
253229	-109.64478	-108.22808
253675	-109.6603	-108.72907
254120	-109.70899	-109.55005
254566	-111.63222	-107.51951
255011	-111.12111	-108.21512
255457	-109.6342	-111.71112
255902	-111.33965	-108.4495
256347	-109.72156	-107.58285
256793	-113.95953	-108.92454
257238	-108.54172	-109.24582
257684	-111.08466	-110.31129
258129	-111.48303	-109.6117
258575	-111.03882	-109.15451
259020	-111.73412	-108.93111
259465	-108.03493	-110.91988
259911	-110.32056	-110.85936
260356	-111.05988	-111.48816
260802	-110.2686	-109.15293
261247	-110.40871	-109.17518
261693	-111.54782	-108.61568
262138	-110.16902	-107.55024
262584	-110.38568	-109.09506
263029	-112.21575	-106.06774
263474	-109.02009	-107.87511
263920	-110.39251	-110.39969
264365	-109.32505	-109.05074
264811	-110.86428	-110.05588
265256	-113.10363	-111.38572
265702	-112.0042	-107.42736
266147	-110.68938	-109.83244
266592	-110.59578	-109.53391
267038	-113.97574	-109.6732
267483	-111.35055	-110.89366
267929	-110.42114	-111.07991
268374	-109.99816	-110.20282
268820	-109.89309	-109.90394
269265	-112.04543	-109.54855
269710	-112.19106	-110.29631
270156	-109.46568	-108.76824
270601	-110.1102	-109.22558
271047	-109.83095	-109.91782
271492	-111.07288	-106.71182
271938	-111.43734	-108.12475
272383	-111.80894	-109.48374
272829	-111.80806	-109.23937
273274	-111.93251	-107.66709
273719	-109.39218	-108.78622
274165	-111.87231	-110.0009
274610	-108.1143	-108.57941
275056	-111.50539	-106.44589
275501	-110.86499	-107.40766
275947	-111.01606	-110.54429
276392	-111.05595	-109.96166
276837	-111.58399	-106.82945
277283	-109.33905	-107.7159
277728	-112.70969	-110.26545
278174	-113.57462	-109.97953
278619	-111.42708	-108.30628
279065	-111.77874	-111.08272
279510	-111.36447	-112.17996
279955	-111.20038	-108.75553
280401	-108.14881	-108.94894
280846	-111.47774	-106.21598
281292	-111.43738	-108.9788
281737	-109.56149	-108.56142
282183	-108.8949	-107.72336
282628	-111.14862	-109.23084
283073	-111.2217	-107.77222
283519	-108.94384	-107.11434
283964	-113.88348	-109.80518
284410	-111.56805	-109.22958
284855	-113.25972	-109.79606
285301	-111.94481	-111.35194
285746	-113.53664	-110.35812
286192	-110.5492	-106.65694
286637	-113.45019	-111.25606
287082	-112.27809	-111.02687
287528	-113.00762	-113.82832
287973	-111.03056	-108.84312
288419	-111.54534	-108.90422
288864	-111.17293	-110.79197
289310	-110.92903	-108.31339
289755	-110.84168	-108.73257
290200	-109.1967	-109.63444
290646	-108.54484	-107.33188
291091	-108.89309	-107.96912
291537	-112.45664	-107.50415
291982	-110.41831	-108.63818
292428	-111.89199	-107.74522
292873	-107.85984	-106.89719
293318	-111.62297	-108.11109
293764	-109.95303	-109.05809
294209	-109.24538	-110.29171
294655	-114.0997	-106.40814
295100	-109.38371	-107.86832
295546	-109.98406	-107.55874
295991	-108.5773	-110.21014
296437	-109.65638	-109.43339
296882	-110.04996	-109.89969
297327	-112.41598	-107.40366
297773	-112.13848	-110.29481
298218	-112.94219	-110.62674
298664	-111.14556	-110.11399
299109	-111.6229	-108.98522
299555	-109.14992	-108.21195
300000	-112.97222	-109.89531
300000	-109.08493	-109.75241	-138
301559	-109.07511	-107.53325
303118	-113.86797	-111.1393
304677	-111.4974	-107.38996
306236	-108.61767	-107.30736
307795	-111.47519	-106.495
309354	-108.49085	-108.54994
310913	-109.1909	-108.02069
312472	-109.75532	-107.00694
314031	-110.09715	-108.25899
315590	-111.1555	-107.67324
317149	-110.05991	-108.64767
318708	-110.16334	-109.93447
320267	-110.85025	-110.66772
321826	-108.31147	-107.57474
323385	-107.95684	-109.12156
324944	-110.87762	-108.839
326503	-110.14532	-108.30049
328062	-110.26397	-109.68231
329621	-109.9089	-108.22937
331180	-112.61141	-110.64938
332739	-112.15397	-108.94887
334298	-111.42414	-110.21044
335857	-110.14704	-113.4755
337416	-112.91806	-111.86344
338976	-110.93784	-109.14343
340535	-113.57044	-110.68145
342094	-110.5964	-109.82332
343653	-109.68915	-111.01516
345212	-112.03719	-109.5079
346771	-112.35624	-107.76855
348330	-112.6962	-109.65668
349889	-111.77037	-105.20514
351448	-112.10451	-108.14122
353007	-111.85515	-107.63285
354566	-109.50682	-112.80272
356125	-110.4264	-108.85842
357684	-112.82834	-109.20312
359243	-109.49259	-107.30839
360802	-111.8125	-108.47012
362361	-111.0645	-109.80375
363920	-111.73709	-109.44134
365479	-109.62309	-106.3833
367038	-110.54607	-112.99005
368597	-108.23903	-111.52084
370156	-110.93857	-109.02258
371715	-110.34184	-107.78031
373274	-114.24644	-112.30892
374833	-109.71347	-108.90157
376392	-110.31053	-113.24399
377951	-111.02793	-109.72962
379510	-111.5492	-112.19668
381069	-112.3239	-110.48361
382628	-111.14537	-112.34832
384187	-111.46387	-107.95347
385746	-111.1161	-109.71326
387305	-113.52737	-110.20975
388864	-109.76381	-109.44941
390423	-111.06642	-110.12334
391982	-113.06845	-109.8015
393541	-112.07655	-110.46662
395100	-111.66477	-112.44128
396659	-111.68784	-111.42215
398218	-111.34196	-110.32285
399777	-113.04955	-110.08876
401336	-114.70181	-108.6077
402895	-112.0605	-109.11626
404454	-112.3312	-109.54202
406013	-112.89897	-111.22082
407572	-111.6917	-111.33632
409131	-111.67359	-114.05569
410690	-111.40527	-110.37124
412249	-112.63784	-109.3638
413808	-113.89495	-111.41895
415367	-114.38084	-111.33032
416927	-115.18986	-110.43296
418486	-112.65064	-111.28829
420045	-111.9007	-113.49647
421604	-112.49074	-110.06835
423163	-113.07327	-111.07116
424722	-114.95879	-113.30069
426281	-113.17309	-113.9897
427840	-109.94842	-114.39819
429399	-112.80372	-112.12821
430958	-114.52876	-112.39839
432517	-113.85428	-114.51641
434076	-112.8134	-110.42303
435635	-113.29375	-109.31215
437194	-113.05259	-109.80566
438753	-116.05829	-112.3561
440312	-112.83847	-112.86564
441871	-113.76793	-114.10647
443430	-112.98086	-114.42618
444989	-109.95639	-114.43808
446548	-113.74884	-114.64384
448107	-111.41012	-110.19051
449666	-114.09551	-113.17976
451225	-112.18437	-113.14916
452784	-113.0033	-114.51962
454343	-114.86722	-116.63351
455902	-117.26032	-110.96114
457461	-113.58413	-115.90616
459020	-111.39988	-112.9125
460579	-112.58564	-112.94695
462138	-113.54406	-113.25976
463697	-114.47018	-112.75608
465256	-114.61386	-113.71205
466815	-116.19152	-114.34738
468374	-109.77015	-112.69436
469933	-112.52527	-115.12908
471492	-115.00381	-113.00704
473051	-113.32879	-115.12875
474610	-115.07799	-113.31301
476169	-115.30661	-112.94369
477728	-116.31668	-114.84006
479287	-112.96215	-111.10547
480846	-114.00525	-114.58589
482405	-114.0222	-114.7442
483964	-116.30051	-116.5639
485523	-115.43334	-116.63509
487082	-114.76256	-113.85324
488641	-117.00189	-114.89532
490200	-117.3315	-114.17358
491759	-115.05981	-113.66415
493318	-114.30724	-112.16562
494878	-116.64543	-116.43829
496437	-114.26137	-113.02055
497996	-117.02191	-116.38119
499555	-116.64351	-113.28619
501114	-115.20999	-111.54134
502673	-115.31058	-113.20243
504232	-116.28809	-115.69309
505791	-115.10412	-113.60059
507350	-115.82164	-116.1014
508909	-114.417	-115.2491
510468	-115.85455	-117.66484
512027	-117.39379	-116.59706
513586	-116.05778	-117.38524
515145	-114.87708	-116.04118
516704	-116.78051	-114.20234
518263	-117.71376	-115.1986
519822	-116.74726	-114.21292
521381	-118.22494	-116.27832
522940	-116.09656	-117.90536
524499	-117.48187	-115.59819
526058	-115.79249	-116.70151
527617	-118.02636	-113.34764
529176	-117.87063	-116.2461
530735	-112.66801	-116.87069
532294	-118.24818	-116.46126
533853	-117.87936	-118.68797
535412	-116.58531	-115.51469
536971	-117.12593	-116.57832
538530	-114.51788	-117.33724
540089	-116.84797	-117.99545
541648	-119.89447	-116.21588
543207	-116.10225	-115.05922
544766	-116.81522	-116.87019
546325	-116.87691	-116.79485
547884	-116.72934	-117.04419
549443	-116.94212	-116.50472
551002	-120.158	-118.3377
552561	-119.21324	-115.1178
554120	-118.81978	-115.56176
555679	-118.94286	-116.90978
557238	-117.13559	-118.23762
558797	-120.47505	-113.22298
560356	-118.42555	-119.96328
561915	-119.17632	-112.84524
563474	-117.14205	-117.83253
565033	-117.31761	-116.56332
566592	-116.4841	-114.87649
568151	-119.93874	-117.54078
569710	-117.76679	-115.97286
571269	-116.81101	-115.34062
572829	-118.36012	-119.84269
574388	-118.98478	-119.57462
575947	-117.55797	-118.54858
577506	-117.68407	-117.32531
579065	-119.95836	-117.09531
580624	-118.08881	-119.37066
582183	-119.49644	-119.74792
583742	-119.2533	-118.93912
585301	-120.35734	-117.41281
586860	-119.82891	-118.72624
588419	-117.64898	-116.10581
589978	-116.63553	-114.32882
591537	-118.37219	-115.67595
593096	-118.87358	-117.5828
594655	-120.78224	-118.53704
596214	-118.77189	-117.07832
597773	-115.89411	-115.61704
599332	-120.6575	-120.52925
600891	-117.0145	-119.05313
602450	-117.7372	-119.58972
604009	-116.64442	-120.00811
605568	-117.1978	-117.77099
607127	-118.93509	-116.88707
608686	-122.06225	-118.76606
610245	-121.35745	-119.54038
611804	-119.10095	-118.64219
613363	-118.92235	-120.32004
614922	-119.71839	-118.50582
616481	-121.51572	-119.44525
618040	-120.21556	-120.22891
619599	-120.17051	-119.82586
621158	-122.3388	-119.03399
622717	-125.54745	-119.7775
624276	-118.3616	-119.51863
625835	-120.78736	-120.21786
627394	-120.26965	-120.79176
628953	-121.29839	-120.29457
630512	-121.67803	-119.87968
632071	-118.71809	-118.62286
633630	-121.56828	-119.6405
635189	-117.44795	-119.20141
636748	-121.07581	-119.12715
638307	-120.02866	-119.27047
639866	-119.95381	-119.99699
641425	-120.64451	-119.38514
642984	-118.95788	-120.28585
644543	-122.16001	-121.42062
646102	-121.08551	-119.36609
647661	-120.3392	-117.32805
649220	-119.17086	-118.6778
650780	-120.97418	-121.21261
652339	-119.11022	-119.11775
653898	-122.79244	-121.00399
655457	-117.67945	-120.35839
657016	-122.68821	-120.53134
658575	-122.59754	-119.59561
660134	-119.30254	-120.2495
661693	-120.77353	-118.66026
663252	-119.88447	-118.49988
664811	-120.08348	-120.60389
666370	-120.26309	-120.51434
667929	-120.79749	-121.81375
669488	-121.91587	-121.23136
671047	-119.78578	-119.90705
672606	-121.86838	-121.65722
674165	-118.33505	-117.98603
675724	-120.06106	-120.5334
677283	-119.52835	-119.98481
678842	-118.19088	-121.63113
680401	-124.12522	-119.70709
681960	-121.98819	-119.16294
683519	-120.23561	-119.68793
685078	-123.55872	-118.60465
686637	-124.92192	-120.68387
688196	-121.33957	-119.58332
689755	-123.14368	-120.70705
691314	-120.88581	-118.87875
692873	-121.58169	-120.85658
694432	-121.35712	-122.0403
695991	-122.38126	-120.33156
697550	-123.03718	-121.04697
699109	-121.97468	-121.76447
700668	-120.13269	-121.09244
702227	-119.08928	-118.54464
703786	-121.108	-121.7617
705345	-123.07526	-121.71512
706904	-123.84976	-121.72379
708463	-123.69178	-119.86905
710022	-121.63053	-121.75976
711581	-122.45862	-120.531
713140	-118.31239	-121.23824
714699	-118.73106	-121.04555
716258	-121.8857	-120.44969
717817	-122.022	-118.89482
719376	-123.9605	-120.05106
720935	-121.62849	-121.08328
722494	-120.18553	-120.03829
724053	-125.24975	-120.10055
725612	-122.83975	-121.91738
727171	-121.84496	-121.61398
728731	-117.27902	-120.38974
730290	-123.05413	-120.17446
731849	-120.4017	-120.7048
733408	-122.55903	-122.07088
734967	-123.37063	-120.12325
736526	-123.64794	-119.77231
738085	-123.71739	-122.83925
739644	-124.89882	-119.2432
741203	-121.38018	-119.41531
742762	-124.21144	-122.35022
744321	-124.02144	-120.835
745880	-120.9277	-122.46811
747439	-124.68818	-120.01806
748998	-122.76618	-121.90701
750557	-124.09741	-122.43668
752116	-120.28758	-121.3516
753675	-124.46741	-120.2253
755234	-126.20129	-122.41207
756793	-121.36853	-122.4004
758352	-124.40181	-122.00457
759911	-122.39165	-122.30562
761470	-124.50634	-121.75061
763029	-122.98363	-119.06782
764588	-125.25648	-121.03796
766147	-124.6598	-122.12955
767706	-121.69866	-121.11124
769265	-120.90968	-121.03071
770824	-124.52078	-120.90753
772383	-125.63505	-122.0391
773942	-120.87126	-120.7417
775501	-125.34222	-122.41156
777060	-120.08735	-122.91664
778619	-123.92774	-120.56919
780178	-125.76516	-122.00524
781737	-124.93911	-120.59436
783296	-120.97944	-120.29432
784855	-125.94321	-120.59306
786414	-125.005	-120.52908
787973	-122.16555	-121.31994
789532	-120.47934	-121.82192
791091	-121.13406	-119.22039
792650	-121.80769	-120.41113
794209	-124.62718	-120.75414
795768	-121.86587	-119.94219
797327	-123.96285	-120.84699
798886	-124.44969	-121.98156
800445	-123.43368	-121.83394
802004	-124.68905	-120.34061
803563	-122.44343	-119.02478
805122	-121.56828	-121.72616
806682	-121.96322	-121.15956
808241	-125.12051	-119.81709
809800	-123.3423	-121.20928
811359	-121.00381	-119.661
812918	-125.80455	-121.8593
814477	-126.02149	-121.56228
816036	-124.15938	-120.85416
817595	-127.33606	-121.95254
819154	-124.58891	-121.88746
820713	-125.92155	-121.12944
822272	-123.61905	-121.96751
823831	-122.12887	-120.85553
825390	-125.79236	-118.99538
826949	-124.9977	-120.64168
828508	-120.59218	-121.79882
830067	-124.20226	-120.97334
831626	-124.16618	-119.85938
833185	-125.17814	-122.68007
834744	-120.20684	-121.21505
836303	-124.29428	-122.34816
837862	-122.80098	-121.24188
839421	-124.64594	-121.15941
840980	-124.91887	-122.40009
842539	-125.90005	-122.50682
844098	-125.81009	-120.65371
845657	-126.57388	-122.40438
847216	-126.41331	-122.87468
848775	-123.38003	-122.27907
850334	-124.28111	-121.03246
851893	-123.30543	-119.65769
853452	-122.50337	-120.44728
855011	-124.72795	-122.88281
856570	-124.70431	-122.91719
858129	-125.08594	-121.24747
859688	-123.48025	-122.42359
861247	-126.1409	-123.05738
862806	-125.81262	-117.30849
864365	-125.63718	-121.19188
865924	-126.51845	-122.78085
867483	-123.06074	-122.25978
869042	-125.42232	-121.21909
870601	-127.15662	-123.26957
872160	-122.15931	-121.83996
873719	-123.46256	-121.27578
875278	-123.16609	-122.31778
876837	-123.93614	-122.35272
878396	-123.72399	-122.56215
879955	-124.78034	-122.45861
881514	-126.09681	-121.91122
883073	-125.70939	-122.47389
884633	-122.85105	-119.83072
886192	-125.45103	-121.26863
887751	-124.71076	-121.85934
889310	-125.96624	-122.07594
890869	-125.31882	-121.06251
892428	-126.994	-122.61982
893987	-124.93684	-122.56395
895546	-126.90922	-122.83705
897105	-125.61834	-122.75179
898664	-122.61934	-121.22368
900223	-125.63931	-118.86094
901782	-125.42106	-122.70245
903341	-125.44534	-122.95141
904900	-126.89208	-122.52269
906459	-125.61918	-121.93976
908018	-121.04206	-120.63692
909577	-124.74593	-122.64918
911136	-123.07078	-120.44207
912695	-121.57319	-122.17578
914254	-122.25824	-120.4708
915813	-126.20649	-121.93562
917372	-124.19816	-122.25106
918931	-122.23524	-117.99878
920490	-120.86874	-120.99949
922049	-127.28036	-123.14144
923608	-121.25547	-121.79134
925167	-124.98781	-123.02188
926726	-122.89216	-122.06911
928285	-124.29611	-122.4985
929844	-126.80486	-123.0622
931403	-124.17649	-122.39735
932962	-123.09913	-121.22391
934521	-123.39484	-120.60938
936080	-125.344	-121.03522
937639	-119.9285	-121.46119
939198	-127.03499	-122.91366
940757	-127.04087	-123.13504
942316	-124.54709	-122.85797
943875	-123.36864	-122.52319
945434	-122.36759	-122.69811
946993	-126.66661	-121.94141
948552	-126.91659	-122.88484
950111	-126.73738	-122.48769
951670	-124.58219	-121.38468
953229	-126.6661	-123.00268
954788	-123.82892	-121.35853
956347	-123.63349	-121.71004
957906	-125.31458	-122.31015
959465	-126.57528	-123.03105
961024	-125.07225	-123.17582
962584	-124.44189	-120.71734
964143	-124.30126	-122.73701
965702	-123.53476	-122.02918
967261	-123.23369	-121.70859
968820	-126.99995	-122.92374
970379	-126.35993	-122.57288
971938	-127.29363	-122.78478
973497	-127.1788	-122.5723
975056	-123.87656	-122.5814
976615	-127.44211	-123.31875
978174	-123.59776	-122.04031
979733	-123.31157	-122.68056
981292	-124.34094	-122.51759
982851	-123.47241	-122.88941
984410	-124.259	-120.91316
985969	-127.10149	-122.46012
987528	-124.16968	-119.79809
989087	-126.78843	-123.03326
990646	-126.30955	-123.04669
992205	-124.92118	-121.46818
993764	-125.47782	-122.77505
995323	-123.93754	-121.88445
996882	-124.88051	-122.37675
998441	-122.3953	-119.92234
1000000	-127.11652	-122.86669	-140
TinySA Ultra Phiase Noise at 10 MHz Vs. Test Source And HP10811
Offset Frequency [Hz]
Phase Noise [dBc/Hz]